## Slide 1: Culverts Rehabilitation with Concrete Cloth

## Slide 2: Culvert Lining Detail – Installation Detail Longitudinal

## Slide 3: Culvert Lining Detail – Installation Detail Longitudinal

## Slide 4: Concrete Cloth Case Study: Greenville, AL
After ensuring that the invert was still structurally intact, the Concrete Cloth was cut and laid in a shingled fashion in direction of the flow. Along the edges, screws are used to attached the Concrete Cloth to the pipe.

## Slide 5: Concrete Cloth Case Study: Greenville, AL
Flow was released to allow the water to act as the hydration method. Concrete Cloth cannot be overhydrated.

## Slide 6: Securing Concrete Cloth to a (CMP - manufactured pipe)
Hammer Drill
Self Tapping Stainless Steel Screw 1.25” long for CC8 lining

## Slide 7: Culvert Lining Installation (Steel Multi-Plate)
Powder Actuated Gun
Powder Actutated Fastener w/Washer

## Slide 8: Culvert Lining Installation (Edge Sealant)
Bituminous
Elastomeric Sealant

## Slide 9: Concrete Cloth Case Study: Greenville, AL
After the Concrete Cloth had cured overnight, the top edge of the installation was sealed with tar to limit high water infiltration.
M
A

## Slide 10: 2 – 60 inch culverts 200 ft long in need of repairs before winter storms
After Cleaning culvert
Poured concrete and rust prohibitory

## Slide 11: Concrete Cloth Installed